| Supplemental Table S1. Fluorophore and Antigen Reagent Optical Layout. Fluorophores are presented by primary laser excitation (columns) and approximate emission wavelengths of the peak detector (rows). Fluorophores which peak in the same detector share the same emission block. This table layout provided helpful information regarding potential sources of spread and helped to inform the assignment of markers to fluorophores to minimize any loss of population resolution during panel design. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Emission Wavelength (nm) | Primary Laser Excitation |  |  |  |  |
|  | UV | Violet | Blue | Yellow Green | Red |
| 380 |  |  |  |  |  |
| 400 | BUV 395-MHCII |  |  |  |  |
| 420 |  | BV421-CD11c |  |  |  |
| 440 |  |  |  |  |  |
| 450 | Live/Dead Blue | Pacific Blue-Ly6G |  |  |  |
| 480 | AF channel |  |  |  |  |
| 500 |  |  |  |  |  |
| 510 |  | AF channel |  |  |  |
| 520 |  |  | AlexaFluor488-CD45 (IV) |  |  |
| 550 |  |  |  |  |  |
| 570 |  |  |  |  |  |
| 580 |  |  |  | PE--CD8 |  |
| 600 |  | BV605-NKp46 |  | PE-Dazzle 594-CD3 |  |
| 610 | BUV615-CD45 (IT) |  |  |  |  |
| 650 |  |  |  |  |  |
| 665 |  | BV650-Ly6C |  |  |  |
| 680 |  |  | PerCP-CD45 | PE-Cy5.5-CD19 | AlexaFluor647-F4/80 |
| 700 |  |  |  |  | APC-R700-CD11b |
| 710 |  | BV711-CD64 | PerCP-eF710-TCR |  |  |
| 730 | BUV737-CD103 |  |  |  |  |
| 750 |  | BV750-Siglec F |  |  |  |
| 780 |  | BV785-CD4 |  | PE-Cy7-CD24 | APC-eF780-CD49b |
| 800 |  |  |  |  |  |