## Slide 1: EVALUATION OF BIM-COBie DATA FOR FACILITY MANAGEMENT
LOKESH MASANIA
[
]
PROF. CARRIE DOSSICK
PROF. KEN YU LIN

## Slide 2
Literature Review
Qualitative Process
Quantitative Process
Conclusion
OUTLINE

## Slide 3
BACKGROUND
Pilot III Project
Research Work
UW spends 60% to 70% of budget on operation & Maintenance
3 Campuses
500 Building
20 Million Gross Foot

## Slide 4
RESEARCH GOAL
What kind of geometry is important for improving the efficiency of data management for the operations and maintenance?
TYPE OF DATA
EFFICIENT
2D
Vs
3D
How much time impact can be brought in the current format if the data is presented and prepared in a different way?

## Slide 5
[BIM] is an intelligent model-based correlative process that provides understanding to help in planning, designing, construction, and managing buildings & infrastructure.
BIM
BIM
OWNER
CONST.
MANAGER
MECH.
ENGINEER
INTERIOR DESIGNER
CONTRACTOR
ARCHITECT
CIVIL ENGINEER
ELECT.
ENGINEER
BUILDING INFORMATION MANAGEMENT

## Slide 6
BIM PROCESS
DESIGN
[D]
CONSTRUCTION
[C]
OPERATIONS
[O]
Requirements & specification from manufacturer and owner
[D]
Requirements & specification from manufacturer and owner.
[D]+[C] & [D]+[C]
Requirements & specification from manufacturer and owner
[C]+[O] & [O]+[C]

## Slide 7
[COBie] is a data exchange standardized process for recording the subsets of building model information focused on delivering building information not geometric modeling.
COBie
CONSTRUCTION OPERATION BUILDING INFORMATION EXCHANGE
Operation

## Slide 8
DESIGN
[D]
CONSTRUCTION
[C]
OPERATIONS
[O]
Requirements & specification from manufacturer and owner
[D]
Requirements & specification from manufacturer and owner.
[D]+[C] & [D]+[C]
Requirements & specification from manufacturer and owner
[C]+[O] & [O]+[C]
COBie PROCESS

## Slide 9
CASE STUDY
TEXAS A&M
HEALTH SCIENCE CENTER
The team from Broaddus was looking into the aspect of use of COBie in facility management by implementing the WO process with CMMS to start up.
What is the time impact, if the data is digitalized.
They estimated former WO cycle times by interviewing with experienced Facility Managers at each campus by comparison to established flowcharts.
8.7%
Times the efficiencies can be
improved with the availability of digital data.
What kind of information is required for improving the efficiency?
And how much time does it saves?
TEXAS A&M, HEALTH SCIENCE CENTER
PROCESS
RESULT
QUESTIONS

## Slide 10
METHODOLOGY
QUALITATIVE
QUANTITATIVE
INTERVIEW SURVEY
EXPERIMENT PROCESS

## Slide 11
PROCESS
Field
Age
Experience
Knowledge
Rating
2D vs 3D
LOD Level
Accuracy
Use of LOD
Awareness
Relevancy
Needs
Time Spent
BACKGROUND
ASSET
MANAGEMENT
LOD
QUALITATIVE

## Slide 12
PERSONAL
INFORMATION
AGE
BACKGROUND INFORMATION
PROFESSIONAL EXPERIENCE
50%
Participants were 41 years or older.
Only 17% were of age between 31-40 year.
And 33% were of age between 20 to 30 years.
31%
Each of the Participants were Mechanical or Civil Engineers.
Only 15% each were either from Architecture background or others.
Only 8% were from Electrical background
42%
Had 20 years or more experience.
Whereas 33 per cent had the experience of 1 - 5 year
17 percent each with 11 - 15 years of experience.

## Slide 13
ASSET
INFORMATION
AWARENESS
RELEVANCE
ALTERATION
56%
Only 33% of the participants were aware about the UW asset information.
23% had some idea but were not sure.
At the same time 33 % were not aware.
Whereas about 11% were clueless.
25%
TIME
FUTURE
SUGGESTIONS
50%
34%
70%
Time Spent
Awareness
Relevancy
Suggestion

## Slide 14
LOD
INFORMATION
2D OVER 3D
ACCURACY
3D FUTURE
BIM FUTURE
41%
Had no clue about the LOD Data.
At the same time 25 % of the participant had some knowledge about it.
34%
KNOWLEDGE
RELEVANCY
IMPORTANCE
TYPE OF LOD
66%
About 66 per cent were very positive about the proposed LOD Document.
But still 34 per cent were not complete convinced.
56%
Participant agreed that they might use the data but they trust on their sources more.
42 per cent were really excited to use the information followed by about
33%
55%
54%
2D Over 3D
Accuracy of 3D
3D As Future
BIM in Future
100
17%
200
00%
300
08%
400
33%
500
42%

## Slide 15
PROCESS
6 PHASES
[RE-BASELINE]
EXECUTION
PLAN
TUTORIAL NOTES FOR THE EXPERIMENT
QUANTITATIVE
PERFORMING EXEPERIMENT
COMPLETING
THE
GIVEN TASK
TIME CHECK
DATA COLLECTION FROM THE PARTICIPANTS
DATA ANALYSIS AND
COMPARISON

## Slide 16
Phase 01
Data
Collection
Phase 02
Modeling
Phase 03
Data
integration
Phase 04
Reviewing
Phase 5
Data
Extraction
Phase 06
Testing
RE-BASELINE
PROCESS
DOCUMENTATION
DATA GENERATION
LOD DOCUMENT

## Slide 17
RE-BASELINE
PROCESS
DOCUMENTATION
DATA GENERATION
LOD DOCUMENT
EXISTING DOCUMENTS WERE COLLECTED FROM THE UW RECORDS DEPARMENT
BIM MODEL OF THE EXISTING BUILDING WAS GENERATED ALONG WITH THE COBIE DATA
WILLIAM H FOEGE
GENOME SCIENCE BUILDING

## Slide 18
RE-BASELINE
PROCESS
DOCUMENTATION
DATA GENERATION
LOD DOCUMENT
BIM MODEL OF THE EXISTING BUILDING WAS GENERATED ALONG WITH THE COBIE DATA
ASSET INFORMATION TRANSFERRED TO EXCEL WHICH WILL BE EXPORTED TO AiM.

## Slide 19
RE-BASELINE
PROCESS
DOCUMENTATION
DATA GENERATION
LOD DOCUMENT
ASSET INFORMATION TRANSFERRED TO EXCEL WHICH WILL BE EXPORTED TO AiM.
EFFICENT DATA
NO DUPLICATION
EASY TO LOCATE
USER FRIENDLY
UPDATED DATA

## Slide 20
PROCESS
6 PHASES
[RE-BASELINE]
EXECUTION
PLAN
TUTORIAL NOTES FOR THE EXPERIMENT
QUANTITATIVE
PERFORMING EXEPERIMENT
COMPLETING
THE
GIVEN TASK
TIME CHECK
DATA COLLECTION FROM THE PARTICIPANTS
DATA ANALYSIS AND
COMPARISON

## Slide 21
EXPERIMENT
AREA OF INTEREST
WORK ORDER DATA
ASSET INFORMATION
YEAR 2009 - 2013
29,198 HOURS OF WORK ORDERS
6,995 HOURS OF WORK ORDERS
GROUND FLOOR
FIRST FLOOR
MECHANICAL BASEMENT

## Slide 22
EXPERIMENT
AREA OF INTEREST
WORK ORDER DATA
ASSET INFORMATION
2012
2010
2009
2011
2013
Total number of Hours Spent During the Work Order for William Foege - Genome Science Building, University of Washington from the Year 2009 - 2013
Total number of Hours Spent During the Work Order for William Foege - Genome Science Building, University of Washington from the Year 2009 - 2013 for only Mechanical Basement, Ground Floor and First Floor
1000
2000
3000
4000
5000
6000
7000
8000
767
1143
1089
888
1042
2585
5299
7809
6692
7534
YEARS
HOURS

## Slide 23
EXPERIMENT
AREA OF INTEREST
WORK ORDER DATA
ASSET INFORMATION
16
Nos
Of Participants did the Experiment which included FS Staffs and CM students
Experiment consisted of 10 -15 tasks of WO
[Starting from getting the compliant to ending with assigning someone for the task]
In the whole process of experiment,
we covered the following data:
ASSIST - 70 Work Orders
CALL-OUT - 70 Work Orders
CORRECTIVE - 40 Work Orders
EVENT - 2 Work Orders
PLANNED - 18 Work Orders
PREVENTIVE - 20 Work Orders
ROUTINE - 20 Work Orders
According to the Different Facility Staff Members, a Work Order Task
Takes Approximately 16 Minutes on an Average.
According to the Experiments Conducted with the Facility Staff and Students, 1:40 Minutes Per Work Order Task was Calculated.
16:00 Min
1:40
Min

## Slide 24
EXPERIMENT
AREA OF INTEREST
WORK ORDER DATA
ASSET INFORMATION
Total number of Hours Spent on the Work Order for William Foege - Genome Science Building, University of Washington from the Year 2009 - 2013 As Per Facility Staff.
Total number of Hours Spent on the Work Order for William Foege - Genome Science Building, University of Washington from the Year 2009 - 2013 As Per Experiment Conducted.
2012
2010
2009
2011
2013
YEARS
HOURS
1.09
15.07
5.16
46.01
3.40
30.30
3.78
3.78
33.67
33.67
11.23
Times

## Slide 25
CONCLUSION
Adding a new dimension to the data curtailing makes the data 11.23 time more efficient.
Rather than having experience of working with 2D data till now, most of the people are open to adding a new dimension in the data
100 level of Geometry and 500 level of Data

## Slide 26
FUTURE
How COBie Standards can be implemented in the contracts on the building?
How can we move one step ahead and build a real time data integration system for facility management?

## Slide 27: QUESTIONS? THANK YOU
[
]