## Slide 1
M+4
M+6
Figure S3_1. Q-TOF spectrum of WT sample in 13C methane culture. The mz of 279.0176 is 50 ppm away from the theoretical mz of M+4 of 6PG based on the mass difference between 12C and 13C is 1.003355. The High resolution Q-TOF was calibrated and tuned at accuracy of 30 ppm, showing that the mz of 279.0176 is not the M+4 of 6PG.
Notes: Figure S1. Q-TOF spectrum of WT sample in 13C methane. The mz of 279.0176 is 50 ppm away from the therotical mz of M+4 of 6PG assuming that the mass difference between 12C and 13C = 1.003355. The High rtesolution Q-TOF was calibrated and tuned at accuracy of 30 ppm. So the mz of 279.0176 shouldn’t be considered as M+4 of 6PG.