## Batch Tests-Phase I
Aerobic-Only Reactor
Batch Test on 6/20/2012 |  | Batch Test on 6/22/2012 |  | Batch Test on 6/24/2012
VSS (g/L) = 1.095 |  | VSS (g/L) = 1.04 |  | VSS (g/L) = 0.93
T (C) = 19 |  | T (C) = 18 |  | T (C) = 18
Time | Total EE2 Concentration (ng/L) | Time | Total EE2 Concentration (ng/L) | Time | Total EE2 Concentration (ng/L)
17:29 | 31.5 | 17:29 | 19.3 | 11:28 | 18.2
17:29 | 32.5 | 17:29 | 20.4 | 11:28 | 18.2
16:30 | 42 | 16:30 | 26.7 | 10:31 | 24.5
16:30 | 41.2 | 16:30 | 27.2 | 10:31 | 23.4
15:46 | 49.5 | 15:45 | 29 | 9:47 | 27.1
15:46 | 48.5 | 15:45 | 29.2 | 9:47 | 24.6
15:15 | 53.1 | 15:15 | 33.5 | 9:15 | 34.6
15:15 | 51.1 | 15:15 | 32.6 | 9:15 | 32.1
14:48 | 58 | 14:47 | 38.3 | 8:47 | 40.5
14:48 | 57.8 | 14:47 | 40.5 | 8:47 | 42.9
Anoxic/Aerobic Reactor
Batch Test on 6/20/2012 |  | Batch Test on 6/22/2012 |  | Batch Test on 6/24/2012
VSS (g/L) = 0.875 |  | VSS (g/L) = 0.925 |  | VSS (g/L) = 0.773
T (C) = 19 |  | T (C) = 18 |  | T (C) = 18
Time | Total EE2 Concentration (ng/L) | Time | Total EE2 Concentration (ng/L) | Time | Total EE2 Concentration (ng/L)
18:57 | 21.3 | 18:58 | 18.8 | 12:58 | 22.7
18:57 | 19.6 | 18:58 | 18.1 | 12:58 | 22.1
17:28 | 25.3 | 17:29 | 24.9 | 11:30 | 26.4
17:28 | 23.5 | 17:29 | 23.6 | 11:30 | 27.6
16:30 | 36.1 | 16:30 | 33.4 | 10:31 | 31.4
16:30 | 36.1 | 16:30 | 32.6 | 10:31 | 32.8
16:01 | 38.2 | 16:00 | 35.3 | 10:00 | 38.4
16:01 | 36.8 | 16:00 | 34.1 | 10:00 | 34.4
15:29 | 38.4 | 15:27 | 37.2 | 9:29 | 37.7
15:29 | 39.8 | 15:27 | 39.5 | 9:29 | 36.2
14:48 | 42.5 | 14:47 | 39.9 | 8:48 | 40.6
14:48 | 40.4 | 14:47 | 40 | 8:48 | 37.2
Anaerobic/Aerobic Reactor
Batch Test on 6/20/2012 |  | Batch Test on 6/22/2012 |  | Batch Test on 6/24/2012
VSS (g/L) = 1.025 |  | VSS (g/L) = 0.995 |  | VSS (g/L) = 0.870
T (C) = 19 |  | T (C) = 18 |  | T (C) = 18
Time | Total EE2 Concentration (ng/L) | Time | Total EE2 Concentration (ng/L) | Time | Total EE2 Concentration (ng/L)
18:58 | 23.5 | 18:59 | 25.8 | 12:59 | 25.9
18:58 | 28.9 | 18:59 | 24.3 | 12:59 | 23.9
17:28 | 37.5 | 17:30 | 34.6 | 11:31 | 32.4
17:28 | 36.4 | 17:30 | 34.2 | 11:31 | 29.4
16:30 | 47.6 | 16:31 | 40.9 | 10:32 | 39
16:30 | 44.6 | 16:31 | 40.3 | 10:32 | 37.2
16:01 | 50.6 | 16:01 | 42.2 | 10:01 | 37.7
16:01 | 49.6 | 16:01 | 41 | 10:01 | 38.3
15:29 | 57.7 | 15:29 | 49.8 | 9:30 | 42.1
15:29 | 55.8 | 15:29 | 48.8 | 9:30 | 42.4
14:48 | 58.3 | 14:48 | 46.9 | 8:48 | 44.1
14:48 | 58.6 | 14:48 | 48.8 | 8:48 | 43.5

## Batch Tests-Phase II
High-F/M Aerobic Reactor
Batch Test on 8/3/2012 |  | Batch Test on 8/6/2012 |  | Batch Test on 8/7/2012
VSS (g/L) = 0.64 |  | VSS (g/L) = 0.66 |  | VSS (g/L) = 0.64
T (C) = 24 |  | T (C) = 24 |  | T (C) = 24
Time | Total EE2 Concentration (ng/L) | Time | Total EE2 Concentration (ng/L) | Time | Total EE2 Concentration (ng/L)
16:21 | 64.3 | 16:28 | 88.6 | 17:15 | 88.8
16:21 | 61 | 16:28 | 87.7 | 17:15 | 86.8
15:01 | 90.1 | 15:01 | 123 | 15:32 | 129
15:01 | 99.3 | 15:01 | 122 | 15:32 | 126
14:00 | 109 | 13:58 | 168 | 14:18 | 181
14:00 | 116 | 13:58 | 160 | 14:18 | 175
13:35 | 122 | 13:30 | 179 | 13:32 | 190
13:35 | 118 | 13:30 | 176 | 13:32 | 202
13:06 | 146 | 13:10 | 217 | 13:04 | 219
13:06 | 135 | 13:10 | 193 | 13:04 | 224
Low-F/M Aerobic Reactor
Batch Test on 8/3/2012 |  | Batch Test on 8/6/2012 |  | Batch Test on 8/7/2012
VSS (g/L) = 0.46 |  | VSS (g/L) = 0.48 |  | VSS (g/L) = 0.42
T (C) = 24 |  | T (C) = 24 |  | T (C) = 24
Time | Total EE2 Concentration (ng/L) | Time | Total EE2 Concentration (ng/L) | Time | Total EE2 Concentration (ng/L)
16:22 | 59.8 | 16:28 | 87.8 | 17:16 | 78.8
16:22 | 65.2 | 16:28 | 87.4 | 17:16 | 86.6
15:02 | 101 | 15:02 | 135 | 15:32 | 136
15:02 | 105 | 15:02 | 128 | 15:32 | 127
14:01 | 125 | 13:59 | 167 | 14:18 | 180
14:01 | 134 | 13:59 | 164 | 14:18 | 165
13:36 | 145 | 13:31 | 189 | 13:33 | 215
13:36 | 142 | 13:31 | 193 | 13:33 | 223
13:07 | 172 | 13:11 | 196 | 13:05 | 246
13:07 | 176 | 13:11 | 217 | 13:05 | 237
High-F/M Aerobic Reactor (low rbCOD)
Batch Test on 8/3/2012 |  | Batch Test on 8/6/2012 |  | Batch Test on 8/7/2012
VSS (g/L) = 0.44 |  | VSS (g/L) = 0.44 |  | VSS (g/L) = 0.40
T (C) = 24 |  | T (C) = 24 |  | T (C) = 24
Time | Total EE2 Concentration (ng/L) | Time | Total EE2 Concentration (ng/L) | Time | Total EE2 Concentration (ng/L)
16:24 | 73.4 | 16:29 | 112 | 17:17 | 118
16:24 | 72.4 | 16:29 | 109 | 17:17 | 114
15:03 | 111 | 15:02 | 151 | 15:33 | 163
15:03 | 105 | 15:02 | 143 | 15:33 | 161
14:02 | 117 | 13:59 | 161 | 14:19 | 203
14:02 | 118 | 13:59 | 176 | 14:19 | 201
13:37 | 138 | 13:32 | 194 | 13:35 | 223
13:37 | 144 | 13:32 | 188 | 13:35 | 218
13:07 | 153 | 13:11 | 199 | 13:05 | 248
13:07 | 171 | 13:11 | 215 | 13:05 | 239

## Batch Tests-Phase III
High-F/M Aerobic Reactor
Batch Test on 12/9/2013 |  | Batch Test on 12/11/2013 |  | Batch Test on 12/13/2013
VSS (g/L) = 0.23 |  | VSS (g/L) = 0.21 |  | VSS (g/L) = 0.20
T (C) = 20 |  | T (C) = 20 |  | T (C) = 20
Time | Total EE2 Concentration (ng/L) | Time | Total EE2 Concentration (ng/L) | Time | Total EE2 Concentration (ng/L)
20:45 | 277 | 8:59 | 374.3056 | 8:58 | 142
20:45 | 266 | 8:59 | 374.3056 | 8:58 | 138
14:29 | 321 | 21:10 | 881.9444 | 21:22 | 217
14:29 | 330 | 21:10 | 881.9444 | 21:22 | 216
12:06 | 374 | 14:54 | 620.8333 | 14:41 | 276
12:06 | 395 | 14:54 | 620.8333 | 14:41 | 274
10:56 | 400 | 11:48 | 491.6667 | 11:45 | 322
10:56 | 382 | 11:48 | 491.6667 | 11:45 | 303
10:09 | 407 | 10:16 | 427.7778 | 10:20 | 336
10:09 | 391 | 10:16 | 427.7778 | 10:20 | 364
9:42 | 445 | 9:36 | 400 | 9:43 | 367
9:42 | 446 | 9:36 | 400 | 9:43 | 369
Low-F/M Aerobic Reactor
Batch Test on 12/9/2013 |  | Batch Test on 12/11/2013 |  | Batch Test on 12/13/2013
VSS (g/L) = 0.19 |  | VSS (g/L) = 0.20 |  | VSS (g/L) = 0.227
T (C) = 20 |  | T (C) = 20 |  | T (C) = 20
Time | Total EE2 Concentration (ng/L) | Time | Total EE2 Concentration (ng/L) | Time | Total EE2 Concentration (ng/L)
20:45 | 187.6487 | 8:59 | 374.3056 | 8:58 | 79.6
20:45 | 187.6487 | 8:59 | 374.3056 | 8:58 | 77.6
14:29 | 292.5353 | 21:10 | 881.9444 | 21:22 | 132
14:29 | 292.5353 | 21:10 | 881.9444 | 21:22 | 138
12:06 | 346.3509 | 14:54 | 620.8333 | 14:41 | 218
12:06 | 346.3509 | 14:54 | 620.8333 | 14:41 | 221
10:56 | 376.1976 | 11:48 | 491.6667 | 11:45 | 288
10:56 | 376.1976 | 11:48 | 491.6667 | 11:45 | 298
10:09 | 397.6675 | 10:16 | 427.7778 | 10:20 | 362
10:09 | 397.6675 | 10:16 | 427.7778 | 10:20 | 350
9:42 | 410.5511 | 9:36 | 400 | 9:43 | 418
9:42 | 410.5511 | 9:36 | 400 | 9:43 | 403
Low-F/M Anoxic/Aerobic Reactor
Batch Test on 12/9/2013 |  | Batch Test on 12/11/2013 |  | Batch Test on 12/13/2013
VSS (g/L) = 0.266 |  | VSS (g/L) = 0.264 |  | VSS (g/L) = 0.227
T (C) = 20 |  | T (C) = 20 |  | T (C) = 20
Time | Total EE2 Concentration (ng/L) | Time | Total EE2 Concentration (ng/L) | Time | Total EE2 Concentration (ng/L)
20:45 | 231.6406 | 8:59 | 95.5 | 8:58 | 98.4
20:45 | 231.6406 | 8:59 | 91.6 | 8:58 | 103
14:29 | 325.2789 | 21:10 | 174 | 21:22 | 163
14:29 | 325.2789 | 21:10 | 177 | 21:22 | 159
12:06 | 370.1099 | 14:54 | 270 | 14:41 | 229
12:06 | 370.1099 | 14:54 | 273 | 14:41 | 217
10:56 | 394.2574 | 11:48 | 279 | 11:45 | 294
10:56 | 394.2574 | 11:48 | 298 | 11:45 | 293
10:09 | 411.3486 | 10:16 | 333 | 10:20 | 312
10:09 | 411.3486 | 10:16 | 316 | 10:20 | 312
9:42 | 421.5 | 9:36 | 356 | 9:43 | 387
9:42 | 421.5 | 9:36 | 373 | 9:43 | 398

## EE2 Kp Data
Phase I Reactors
Date | Aerobic-Only |  |  | Anoxic/Aerobic |  |  | Anaerobic/Aerobic
| Soluble EE2 (ng/mL) | Total EE2 (ng/mL) | EE2 Kp (L/g-TSS) | Soluble EE2 (ng/mL) | Total EE2 (ng/mL) | EE2 Kp (L/g-TSS) | Soluble EE2 (ng/mL) | Total EE2 (ng/mL) | EE2 Kp (L/g-TSS)
2012-06-20 | 0.0187 | 0.0314 | 0.32297 | 0.0125 | 0.0213 | 0.48293 | 0.0188 | 0.0235 | 0.39205
| 0.0255 | 0.0325 |  | 0.0135 | 0.0196 |  | 0.016 | 0.0289
2012-06-22 | 0.0103 | 0.0193 | 0.3973 | 0.0101 | 0.0188 | 0.52628 | 0.0209 | 0.0258 | 0.29636
| 0.0147 | 0.0204 |  | 0.0123 | 0.0181 |  | 0.0155 | 0.0243
2012-06-24 | 0.011 | 0.0182 | 0.44074 | 0.0147 | 0.0227 | 0.62623 | 0.0217 | 0.0259 | 0.3076
| 0.0129 | 0.0182 |  | 0.0135 | 0.0221 |  | 0.0155 | 0.0239
2012-06-18 | 0.0217 | 0.035 | 0.58031 | 0.0146 | 0.0317 | 0.54143 | 0.0217 | 0.0259 | 0.29974
| 0.0231 | 0.0365 |  | 0.0219 | 0.0264 |  | 0.0155 | 0.0239
Phase II Reactors
Date | High-F/M Aerobic |  |  | Low-F/M Aerobic |  |  | High-F/M Aerobic (low rbCOD)
| Soluble EE2 (ng/mL) | Total EE2 (ng/mL) | EE2 Kp (L/g-TSS) | Soluble EE2 (ng/mL) | Total EE2 (ng/mL) | EE2 Kp (L/g-TSS) | Soluble EE2 (ng/mL) | Total EE2 (ng/mL) | EE2 Kp (L/g-TSS)
2012-08-03 | 0.0651 | 0.122 | 0.47745 | 0.0947 | 0.145 | 0.64665 | 0.102 | 0.138 | 0.37484
| 0.111 | 0.118 |  | 0.116 | 0.142 |  | 0.134 | 0.144
2012-08-03 | 0.0628 | 0.0643 | 0.13042 | 0.0493 | 0.0598 | 0.42433 | 0.0629 | 0.0734 | 0.24373
| 0.0512 | 0.061 |  | 0.0517 | 0.0652 |  | 0.0665 | 0.0724
2012-08-06 | 0.135 | 0.179 | 0.38745 | NA |  |  | 0.154 | 0.194 | 0.40064
| 0.136 | 0.176 |  |  |  |  | 0.158 | 0.188
2012-08-07 | 0.147 | 0.19 | 0.43088 | 0.157 | 0.215 | 0.74111 | 0.171 | 0.223 | 0.516
| 0.148 | 0.202 |  | 0.151 | 0.223 |  | 0.171 | 0.218
2012-08-07 | 0.0742 | 0.0888 | 0.28867 | 0.0642 | 0.0788 | 0.40983 | 0.103 | 0.118 | 0.23477
| 0.0697 | 0.0868 |  | 0.0699 | 0.0866 |  | 0.102 | 0.114
Phase III Reactors
Date | High-F/M Aerobic |  |  | Low-F/M Aerobic |  |  | Low-F/M Anoxic/Aerobic
| Soluble EE2 (ng/mL) | Total EE2 (ng/mL) | EE2 Kp (L/g-TSS) | Soluble EE2 (ng/mL) | Total EE2 (ng/mL) | EE2 Kp (L/g-TSS) | Soluble EE2 (ng/mL) | Total EE2 (ng/mL) | EE2 Kp (L/g-TSS)
2013-12-09 | 0.373 | 0.407 | 0.18797 | 0.315 | 0.378 | 0.77096 | 0.328 | 0.402 | 0.7045
| 0.382 | 0.391 |  | 0.313 | 0.357 |  | 0.315 | 0.4
2013-12-09 | 0.304 | 0.321 | 0.21606 | 0.229 | 0.279 | 0.77487 | 0.244 | 0.321 | 0.73358
| 0.307 | 0.33 |  | 0.244 | 0.275 |  | 0.257 | 0.309
2013-12-11 | 0.246 | 0.262 | 0.23316 | 0.188 | 0.214 | 0.61705 | 0.224 | 0.27 | 0.57833
| 0.25 | 0.268 |  | 0.185 | 0.217 |  | 0.225 | 0.273
2013-12-11 | 0.145 | 0.159 | 0.40295 | 0.0737 | 0.0853 | 0.77013 | 0.0782 | 0.0955 | 0.47598
| 0.142 | 0.162 |  | 0.068 | 0.0839 |  | 0.0814 | 0.0916
2013-12-13 | 0.297 | 0.303 | 0.096416 | 0.249 | 0.288 | 0.61357 | 0.249 | 0.294 | 0.55638
| 0.311 | 0.322 |  | 0.249 | 0.298 |  | 0.234 | 0.293
2013-12-13 | 0.206 | 0.217 | 0.18458 | 0.113 | 0.132 | 0.69444 | 0.121 | 0.163 | 0.71777
| 0.205 | 0.216 |  | 0.112 | 0.138 |  | 0.131 | 0.159

## Effluent EE2 Phase I
Phase I Reactors (Total EE2 (ng/L)) |  |  |  | Phase I Reactors (Soluble EE2 (ng/L))
* Note: duplicate samples are given for each date
Date | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic | Date | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic
2012-06-15 | 67.5 | 43.4 | 51.8 | 2012-06-15 | 33 | 37.1 | 31
2012-06-15 | 66.6 | 43.6 | 55 | 2012-06-15 | 35.7 | 29.3 | 40.9
2012-06-18 | 35 | 31.7 | 36.8 | 2012-06-18 | 21.7 | 14.6 | 23.1
2012-06-18 | 36.5 | 26.4 | 32 | 2012-06-18 | 23.1 | 21.9 | 27.4
2012-06-10 | 45.5 | 46.7 | 37.6 | 2012-06-19 | 19.7 | 14.1 | 15.9
2012-06-10 | 45 | 40 | 38.2 | 2012-06-19 | 25.4 | 12 | 20.7
2012-06-11 | 42.6 | 43.7 | 35.7 | 2012-06-20 | 18.7 | 12.5 | 18.8
2012-06-11 | 47.2 | 43.7 | 40.4 | 2012-06-20 | 25.5 | 13.5 | 15.2
2012-06-19 | 39.7 | 28.9 | 36.9 | 2012-06-22 | 10.3 | 10.1 | 20.9
2012-06-19 | 38 | 27.4 | 35.1 | 2012-06-22 | 12 | 12.3 | 15.5
2012-06-20 | 31.4 | 20.9 | 25.2 | 2012-06-24 | 11 | 14.7 | 15.7
2012-06-20 | 32.5 | 18.8 | 32.1 | 2012-06-24 | 12.9 | 13.5 | 13.7
2012-06-22 | 19.3 | 18.8 | 25.8
2012-06-22 | 20.4 | 18.1 | 24.3
2012-06-24 | 18.2 | 22.7 | 25.9
2012-06-24 | 18.2 | 22.1 | 23.9

## Effluent EE2 Phase II
Phase II Reactors (Total EE2 (ng/L)) |  |  |  | Phase II Reactors (Soluble EE2 (ng/L)) |  |  |  | * Note: duplicate samples are given for each date
Date | High F/M Aerobic | Low F/M Aerobic | High F/M Aerobic (low rbCOD) | Date | High F/M Aerobic | Low F/M Aerobic | High F/M Aerobic (low rbCOD)
2012-07-23 | 15.3 | 25.2 | 18 | 2012-07-23 | 18.8 | 20 | 12.5
2012-07-23 | 20 | 22.8 | 19.9 | 2012-07-23 | 17.7 | 21.2 | 17.9
2012-07-25 | 13.9 | 21.6 | 19.7 | 2012-07-25 | 10.3 | 16 | 17.4
2012-07-25 | 17.3 | 19.9 | 18.3 | 2012-07-25 | 12.4 | 16.9 | 18
2012-07-27 | 13.7 | 21.7 | 22.9 | 2012-07-27 | 11.1 | 16.8 | 17.2
2012-07-27 | 17 | 19.4 | 17.9 | 2012-07-27 | 12.3 | 17.9 | 19.9
2012-07-30 | 14.9 | NA | 14.9 | 2012-07-31 | 29.4 | 20.7 | 18.3
2012-07-30 | 16 | NA | 13.5 | 2012-07-31 | 35.3 | 16.1 | 16.1
2012-07-31 | 13 | 20.7 | 16.8
2012-07-31 | 14.7 | 18.4 | 21.3
2012-08-03 | 14.5 | 18.6 | 18.2
2012-08-03 | 13.4 | 16.8 | 16.5
2012-08-06 | 20.8 | 17.9 | 15
2012-08-06 | 16.3 | 21.7 | 16.4
2012-08-07 | 21.4 | 19.4 | 16.8
2012-08-07 | 18.4 | 21.5 | 20

## Effluent EE2 Phase III
Phase III Reactors (Total EE2 (ng/L) | [5 empty] | * Note: duplicate samples are given for each date
Total EE2 (ng/L)
Sample | Date | Time | High F/M Aerobic | Low F/M Aerobic | Low F/M Anoxic/Aerobic
A1-1 11/28 | 2013-11-28 | 9:30 | 83.2 | 155 | 161
A1-2 11/28 | 2013-11-28 | 9:30 | 97.7 | 138 | 182
B1-1 11/29 | 2013-11-29 | 9:30 | 135 | 154 | 247
B1-2 11/29 | 2013-11-29 | 9:30 | 124 | 179 | 203
C1-1 11/29 | 2013-11-29 | 15:30 | 196 | 206 | 189
C1-2 11/29 | 2013-11-29 | 15:30 | 194 | 200 | 197
D1-1 11/30 | 2013-11-30 | 9:30 | 186 | 177 | 286
D1-2 11/30 | 2013-11-30 | 9:30 | 201 | 184 | 301
E1-1 12/1 | 2013-12-01 | 9:30 | 280 | 229 | 296
E1-2 12/1 | 2013-12-01 | 9:30 | 313 | 227 | 285
G1-1 12/1 | 2013-12-01 | 15:30 | 249 | 184 | 308
G1-2 12/1 | 2013-12-01 | 15:30 | 252 | 177 | 278
H1-1 12/3 | 2013-12-03 | 9:30 | 309 | 195 | 249
H1-2 12/3 | 2013-12-03 | 9:30 | 307 | 231 | 250
I1-1 12/4 | 2013-12-04 | 9:30 | 226 | 183 | 232
I1-2 12/4 | 2013-12-04 | 9:30 | 237 | 174 | 248
J1-1 12/4 | 2013-12-04 | 15:30 | 269 | 208 | 247
J1-2 12/4 | 2013-12-04 | 15:30 | 287 | 208 | 258
K1-1 12/5 | 2013-12-05 | 9:30 | 241 | 179 | 245
K1-2 12/5 | 2013-12-05 | 9:30 | 263 | 211 | 236
L1-1 12/6 | 2013-12-06 | 9:30 | 270 | 204 | 270
L1-2 12/6 | 2013-12-06 | 9:30 | 270 | 218 | 270
M-1 12/6 | 2013-12-06 | 15:30 | 233 | 168 | 246
M-2 12/6 | 2013-12-06 | 15:30 | 245 | 184 | 228
N-1 12/7 | 2013-12-07 | 9:30 | 239 | 185 | 241
N-1 12/7 | 2013-12-07 | 9:30 | 236 | 179 | 255
O-1 12/8 | 2013-12-08 | 21:30 | 170 | 128 | 213
O-1 12/8 | 2013-12-08 | 21:30 | 174 | 137 | 201
P-1 12/9 | 2013-12-09 | 9:30 | 122 | 121 | 178
P-2 12/9 | 2013-12-09 | 9:30 | 124 | 121 | 167
Q-1 12/10 | 2013-12-10 | 9:30 | 140 | 160 | 215
Q-2 12/10 | 2013-12-10 | 9:30 | 150 | 160 | 215
R-1 12.11 | 2013-12-11 | 9:15 | 156 | 160 | 179
R-2 12/11 | 2013-12-11 | 9:15 | 143 | 134 | 169
T 12/11 | 2013-12-11 | 9:20 | 132 | 125 | 181
T 12/11 | 2013-12-11 | 9:20 | 143 | 134 | 186
U-1 12/12 | 2013-12-12 | 9:20 | 141 | 123 | 170
U-2 12/12 | 2013-12-12 | 9:20 | 143 | 121 | 174
R-1 12/13 | 2013-12-13 | 9:18 | 137 | 135 | 160
R-2 12/13 | 2013-12-13 | 9:18 | 138 | 135 | 175
T-1 12/14 | 2013-12-14 | 9:30 | 135 | 125 | 161
T-2 12/14 | 2013-12-14 | 9:30 | 137 | 130 | 163

## Feed Estrogen Data
Phase I Reactor Feed | [9 empty] | * Note: duplicate samples are given for each date
| E1 (ng/mL) |  |  | E2 (ng/mL) |  |  | EE2 (ng/L)
Date | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic
2012-06-07 | 22.2 | 23.6 | 24.8 | 20.6 | 19.5 | 22.7 | 146 | 135 | 136
2012-06-07 | 23.5 | 24.4 | 26 | 20.3 | 21.2 | 23.4 | 151 | 131 | 138
2012-06-11 | 22 | 19.7 | 22 | 21.2 | 18.2 | 21.9 | 160 | 150 | 157
2012-06-11 | 24.2 | 19.7 | 20.2 | 20.2 | 18.4 | 21.6 | 164 | 142 | 151
2012-06-15 | 23.2 | 19.4 | 21.4 | 21.3 | 15 | 17.5 | 206 | 204 | 228
2012-06-15 | 22.3 | 18.7 | 19.7 | 19.5 | 16.8 | 17.1 | 201 | 193 | 223
2012-06-18 | 24.8 | 21.4 | 22.9 | 14.9 | 14.7 | 14 | 183 | 175 | 181
2012-06-18 | 23.9 | 20.4 | 21.5 | 14.9 | 13.9 | 14.5 | 202 | 181 | 175
2012-06-20 | 27.2 | 27 | 29.6 | 13.4 | 13.2 | 15.8 | 159 | 156 | 154
2012-06-20 | 30.2 | 25.1 | 27.6 | 14.4 | 12.5 | 13.6 | 178 | 149 | 155
2012-06-22 | 18.2 | 17.8 | 17.6 | 18 | 17.4 | 18.5 | 178 | 139 | 163
2012-06-22 | 17.8 | 16.5 | 18 | 17.7 | 17.1 | 18.8 | 163 | 146 | 160
2012-06-24 | 16.1 | 15.1 | 14.2 | 18.8 | 17.6 | 17.5 | 145 | 147 | 148
2012-06-24 | 16.2 | 14.4 | 14.3 | 17.7 | 17.2 | 16.9 | 143 | 138 | 141
Phase II Reactor Feed
| E1 (ng/mL) |  |  | E2 (ng/mL) |  |  | EE2 (ng/L)
Date | High F/M Aerobic | Low F/M Aerobic | High F/M Aerobic (low rbCOD) | High F/M Aerobic | Low F/M Aerobic | High F/M Aerobic (low rbCOD) | High F/M Aerobic | Low F/M Aerobic | High F/M Aerobic (low rbCOD)
2012-07-31 | 243 | 203 | 193 | 76.6 | 110 | 20.3 | 144 | 146 | 88.6
2012-07-31 | 227 | 206 | 210 | 76.6 | 116 | 30.9 | 133 | 150 | 101
2012-08-03 | 214 | 158 | 174 | 65.5 | 180 | 10.2 | 106 | 116 | 71.3
2012-08-03 | 203 | 170 | 187 | 61.8 | 176 | 9.06 | 113 | 123 | 72.1
2013-08-06 | 235 | 121 | 173 | 64.2 | 135 | 8.37 | 140 | 122 | 89.8
2013-08-06 | 234 | 135 | 184 | 52.3 | 121 | 9.5 | 152 | 129 | 93.3
2013-08-07 | 244 | 150 | 165 | 49 | 123 | 6.62 | 153 | 148 | 101
2013-08-07 | 245 | 159 | 194 | 62.5 | 123 | 5.49 | 131 | 113 | 89.4
Phase III Reactor Feed
| E1 (ng/mL) |  |  | E2 (ng/mL) |  |  | EE2 (ng/L)
Date | High F/M Aerobic | Low F/M Aerobic | Low F/M Anoxic/Aerobic | High F/M Aerobic | Low F/M Aerobic | Low F/M Anoxic/Aerobic | High F/M Aerobic | Low F/M Aerobic | Low F/M Anoxic/Aerobic
2013-11-28 | 584 | 670 | 588 | 431 | 467 | 428
2013-11-28 | 601 | 657 | 611 | 427 | 533 | 443
2013-11-29 | 539 | 478 |  | 330 | 316 |  | 314 | 296
2013-11-29 | 501 | 387 |  | 358 | 370 |  | 316 | 329
2013-11-30 | 445 | 421 | 428 | 331 | 346 | 298 | 295 | 297 | 305
2013-11-30 | 420 | 458 | 426 | 391 | 344 | 313 | 331 | 293 | 286
2013-12-01 | 513 | 547 | 618 | 494 | 495 | 368
2013-12-01 | 508 | 578 | 610 | 483 | 484 | 416
2013-12-04 | 408 | 405 | 418 | 205 | 334 | 313
2013-12-04 | 440 | 436 | 414 | 237 | 292 | 284
2013-12-06 | 340 | 399 | 382 | 261 | 348 | 303 | 293 | 310 | 297
2013-12-06 | 349 | 398 | 360 | 262 | 345 | 296 | 323 | 331 | 292
2013-12-09 | 317 | 353 | 353 | 299 | 314 | 305 | 298 | 327 | 326
2013-12-09 | 309 | 350 | 378 | 314 | 330 | 330 | 304 | 329 | 320
2013-12-12 | 375 | 355 | 405 | 273 | 305 | 288 | 292 | 285 | 315
2013-12-12 | 321 | 362 | 372 | 299 | 299 | 289 | 291 | 302 | 309
2013-12-14 | [6 empty] | 279 | 282 | 268
2013-12-14 | [6 empty] | 296 | 266 | 262

## Phase I Solids Data
| Mixed Liquor | [8 empty] | Effluent
| TSS (mg/L) |  |  | VSS (mg/L) |  |  | VSS/TSS |  |  | TSS (mg/L) |  |  | VSS (mg/L) |  |  | SRT (days) |  |  | SRT (10 day avg) |  |  | aerobic pH
Date | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic
2012-05-21 | 910 | 780 | 1210 | 727 | 690 | 1023 | 0.7989 | 0.88462 | 0.84545 | 11 | 13 | 4 | 10 | 11 | 4 | 7.3759 | 7.4916 | 8.1361 | 9.2532 | 9.8855 | 9.1831
2012-05-22 | 893 | 740 | 1173.5 | 720 | 650 | 980 | 0.80627 | 0.87838 | 0.83511 | 4 | 7 | 3 |  |  |  | 7.7487 | 7.7928 | 8.1697 | 10.0031 | 9.181 | 8.7997 | 7.31
2012-05-23 | 1077 | 780 | 986.5 | 816.5 | 683.5 | 870 | 0.75812 | 0.87628 | 0.88191 | 2 | 11 | 5 |  |  |  | 8.9519 | 8.1598 | 8.9025 | 10.9864 | 8.5569 | 8.4964
2012-05-24 | 1003 | 743 | 1017 | 770 | 660 | 843 | 0.7677 | 0.88829 | 0.82891 | 2 | 5 | 3 | 2 | 4 | 3 | 8.7345 | 8.597 | 8.8581 | 10.7612 | 8.23 | 8.4155 | 7.39 | 7.24 | 6.91
2012-05-25 | 957 | 753 | 993 | 797 | 670 | 830 | 0.83281 | 0.88977 | 0.83585 | 3 | 6 | 3 | 3 | 6 | 2 | 8.839 | 8.8872 | 9.0524 | 9.042 | 8.4435 | 8.744
2012-05-26 | 993.5 | 763 | 1031.5 | 817 | 670 | 853.5 | 0.82235 | 0.87811 | 0.82744 | 3 | 4.5 | 3 | 2.5 | 4.5 | 2.5 | 9.2563 | 9.47 | 9.6038 | 9.0426 | 8.668 | 8.9589
2012-05-27 | 993.5 | 763 | 1031.5 | 817 | 670 | 853.5 | 0.82235 | 0.87811 | 0.82744 | 3 | 4.5 | 3 | 2.5 | 4.5 | 2.5 | 9.2563 | 9.47 | 9.6038 | 8.8684 | 8.6882 | 9.0132
2012-05-28 | 993.5 | 763 | 1031.5 | 817 | 670 | 853.5 | 0.82235 | 0.87811 | 0.82744 | 3 | 4.5 | 3 | 2.5 | 4.5 | 2.5 | 9.2563 | 9.47 | 9.6038 | 8.6854 | 8.7102 | 9.0204
2012-05-29 | 1030 | 773 | 1070 | 837 | 670 | 877 | 0.81262 | 0.86675 | 0.81963 | 3 | 3 | 3 | 2 | 3 | 3 | 8.161 | 8.4382 | 8.4366 | 8.643 | 8.6828 | 8.9448 | 7.16
2012-05-30 | 1070 | 847 | 1150 | 927 | 747 | 963 | 0.86636 | 0.88194 | 0.83739 | 3 | 7 | 4 | 3 | 5 | 3 | 8.9048 | 8.9371 | 8.675 | 8.6485 | 8.6714 | 8.9042
2012-05-31 | 1227 | 900 | 1133 | 1000 | 793 | 970 | 0.815 | 0.88111 | 0.85613 | 14 | 13 | 18 | 12 | 12 | 16 | 8.3783 | 8.5436 | 8.1493 | 8.7487 | 8.7766 | 8.9055 | 6.8 | 7.25 | 7.11
2012-06-01 | 1027 | 883 | 1073 | 893 | 800 | 940 | 0.86952 | 0.906 | 0.87605 | 8 | 4 | 4 | 7 | 3 | 4 | 8.0756 | 8.7908 | 8.1337 | 8.7814 | 8.8764 | 8.9019 | 7.34 | 7.44 | 7.61
2012-06-02 | [21 empty] | 7.44 | 8.03 | 7.89
2012-06-04 | 1007 | 927 | 1203 | 867 | 803 | 993 | 0.86097 | 0.86624 | 0.82544 | 14 | 13 | 9 | 14 | 13 | 8 | 7.5613 | 8.2944 | 8.3122 | 8.6062 | 8.9268 | 8.8148
2012-06-05 | 1093 | 980 | 1287 | 923 | 873 | 1077 | 0.84446 | 0.89082 | 0.83683 | 12 | 13 | 10 | 11 | 13 | 9 | 7.7272 | 8.3433 | 8.2947 | 8.4151 | 8.7859 | 8.6511
2012-06-06 | 1163 | 943 | 1277 | 983 | 837 | 1060 | 0.84523 | 0.88759 | 0.83007 | 3 | 7 | 4 | 4 | 6 | 4 | 9.3033 | 8.9395 | 8.8736 | 8.421 | 8.7196 | 8.5599
2012-06-07 | 1030 | 920 | 1187 | 850 | 790 | 993 | 0.82524 | 0.8587 | 0.83656 | 8 | 7 | 9 | 6 | 6 | 4 | 8.6975 | 9.3395 | 9.8392 | 8.3511 | 8.7033 | 8.5893
2012-06-08 | 1060 | 937 | 1210 | 893 | 797 | 990 | 0.84245 | 0.85059 | 0.81818 | 12 | 13 | 6 | 12 | 11 | 6 | 7.437 | 7.6112 | 8.2999 | 8.2606 | 8.5999 | 8.5722
2012-06-11 | 953 | 920 | 1130 | 833 | 830 | 927 | 0.87408 | 0.90217 | 0.82035 | 3 | 5 | 3 | 4 | 5 | 3 | 7.9692 | 8.0037 | 8.1795 | 8.1159 | 8.4219 | 8.6332
2012-06-12 | 840 | 980 | 1053 | 773 | 847 | 877 | 0.92024 | 0.86429 | 0.83286 | 4 | 3 | 20 | 4 | 3 | 17 | 8.3649 | 8.8641 | 7.6197 | 8.1515 | 8.4851 | 8.4884
2012-06-13 | 863 | 960 | 980 | 767 | 797 | 807 | 0.88876 | 0.83021 | 0.82347 | 3 | 7 | 3 | 2 | 6 | 3 | 8.6335 | 8.5686 | 8.5021 | 8.2117 | 8.4955 | 8.4901
2012-06-14 | 1050 | 1010 | 1180 | 877 | 870 | 980 | 0.83524 | 0.86139 | 0.83051 | 41 | 16 | 11 | 38 | 15 | 10 | 7.8936 | 8.8334 | 8.7942 | 8.2533 | 8.5629 | 8.5504 | 7.4 | 7.72 | 7.5
2012-06-15 | 1050 | 1047 | 1157 | 870 | 860 | 933 | 0.82857 | 0.82139 | 0.8064 | 7 | 9 | 5 | 6 | 9 | 4 | 8.611 | 8.8138 | 8.5832 | 8.3637 | 8.6217 | 8.5864
2012-06-18 | 1027 | 1093 | 1130 | 876.5 | 896.5 | 910 | 0.85346 | 0.82022 | 0.80531 | 4 | 4 | 3 | 4 | 6 | 2 | 8.4344 | 8.8041 | 8.5139 | 8.3178 | 8.648 | 8.3655
2012-06-19 | 1173 | 1083 | 1110 | 967 | 877 | 930 | 0.82438 | 0.80979 | 0.83784 | 3 | 6 | 5 | 3 | 6 | 5 | 9.1027 | 8.8544 | 8.5708 | 8.4299 | 8.6774 | 8.3948
2012-06-20 | 1380 | 1085 | 1290 | 1095 | 875 | 1025 | 0.79348 | 0.80645 | 0.79457 | 9 | 12 | 9 | 9 | 12 | 10 | 8.5477 | 8.3965 | 8.1837 | 8.4446 | 8.6423 | 8.3684
2012-06-21 | 1420 | 1170 | 1560 | 1110 | 1000 | 1220 | 0.78169 | 0.8547 | 0.78205 | 12 | 15 | 13 | 10 | 15 | 12 | 8.6737 | 8.5023 | 8.6755 | 8.5327 | 8.7047 | 8.4304
2012-06-22 | 1140 | 1230 | 1270 | 940 | 925 | 995 | 0.82456 | 0.75203 | 0.78346 | 17 | 16 | 18 | 15 | 15 | 15 | 8.5067 | 8.5788 | 8.5461 | 8.5504 | 8.669 | 8.5462
2012-06-25 | 1200 | 1055 | 1140 | [6 empty] | 10 | 13 | 11 |  |  |  | 9.0724 | 8.7217 | 8.9653 | 8.7229 | 8.643 | 8.5759
2012-06-27 | 1200 | 935 | 1330 | 935 | 750 | 1015 | 0.77917 | 0.80214 | 0.76316 | 13 | 13 | 5 | 10 | 11 | 4 | 8.6937 | 9.1889 | 9.0086 | 8.7187 | 8.721 | 8.6377
2012-06-28 | 1155 | 900 | 1370 | 990 | 770 | 1095 | 0.85714 | 0.85556 | 0.79927 | 5 | 8 | 4 |  |  |  | 9.1738 | 9.1916 | 9.5023 | 8.8244 | 8.7763 | 8.7789
2012-07-03 | 1020 | 950 | 1120 | 810 | 700 | 810 | 0.79412 | 0.73684 | 0.72321 | 5 | 18 | 13 | 3 | 13 | 9 | 8.547 | 7.7785 | 8.2785 | 8.8717 | 8.7202 | 8.9387
2012-07-05 | 1030 | 940 | 1210 | 850 | 760 | 880 | 0.82524 | 0.80851 | 0.72727 | 4 | 6 | 7 | 3 | 5 | 5 | 8.6159 | 8.986 | 8.4842 | 8.7576 | 8.7862 | 8.8184
2012-07-06 | 1180 | 1130 | 1330 | 950 | 840 | 980 | 0.80508 | 0.74336 | 0.73684 | 60 | 30 | 23 | 5 | 26 | 17 | 19.0846 | 34.5724 | 55.602 | 10.823 | 13.9435 | 18.1751
2012-07-09 | 1070 | 1000 | 1190 | 870 | 770 | 890 | 0.81308 | 0.77 | 0.7479 | 6 | 19 | 13 | 5 | 17 | 10 | 173.0552 | 48.308 | 88.0178 | 52.3257 | 24.9112 | 40.0956
2012-07-10 | 1000 | 1080 | 1130 | 810 | 740 | 800 | 0.81 | 0.68519 | 0.70796 | 5 | 7 | 5 | 4 | 6 | 3 | 9.1218 | 8.5949 | 9.3766 | 43.6849 | 21.648 | 33.9518
2012-07-11 | 980 | 1060 | 1180 | 860 | 800 | 880 | 0.87755 | 0.75472 | 0.74576 | 4 | 12 | 5 | 3 | 10 | 4 | 8.9874 | 8.4305 | 9.1775 | 37.902 | 19.4451 | 29.8228

## Phase II Solids Data
| Mixed Liquor | [8 empty] | Effluent
| TSS (mg/L) |  |  | VSS (mg/L) |  |  | VSS/TSS |  |  | TSS (mg/L) |  |  | VSS (mg/L) |  |  | SRT (days) |  |  | SRT (10 day avg) |  |  | aerobic pH
Date | High F/M Aerobic | Low F/M Aerobic | High F/M Aerobic (low rbCOD) | High F/M Aerobic | Low F/M Aerobic | High F/M Aerobic (low rbCOD) | High F/M Aerobic | Low F/M Aerobic | High F/M Aerobic (low rbCOD) | High F/M Aerobic | Low F/M Aerobic | High F/M Aerobic (low rbCOD) | High F/M Aerobic | Low F/M Aerobic | High F/M Aerobic (low rbCOD) | High F/M Aerobic | Low F/M Aerobic | High F/M Aerobic (low rbCOD) | High F/M Aerobic | Low F/M Aerobic | High F/M Aerobic (low rbCOD) | High F/M Aerobic | Low F/M Aerobic | High F/M Aerobic (low rbCOD)
2012-07-12 | 950 | 900 | 920 | 810 | 742.5 | 800 | 0.85263 | 0.825 | 0.86957 | 17 | 21 | 19 | 16 | 18 | 17 | 30.4829 | 22.531 | 28.1303
2012-07-13 | [21 empty] | 7.64 | 7.44 | 7.44
2012-07-16 | 740 | 980 | 750 | 610 | 810 | 610 | 0.82432 | 0.82653 | 0.81333 | 7 | 13 | 4 | 5 | 11 | 2 | 6.1317 | 6.6754 | 6.6839
2012-07-17 | 720 | 730 | 630 | 610 | 630 | 540 | 0.84722 | 0.86301 | 0.85714 | 3 | 14 | 10 | 3 | 13 | 9 | 6.6184 | 6.4397 | 6.3 |  |  |  | 7.22 | 7.17 | 7.14
2012-07-18 | 870 | 740 | 620 | 710 | 620 | 540 | 0.81609 | 0.83784 | 0.87097 | 23 | 31 | 27 | 20 | 27 | 23 | 5.9665 | 5.7317 | 5.6283
2012-07-19 | 760 | 740 | 640 | 640 | 630 | 540 | 0.84211 | 0.85135 | 0.84375 | 8 | 11 | 11 | 7 | 10 | 10 | 5.7541 | 6.4291 | 6.3183
2012-07-20 | 710 | 750 | 550 | 590 | 630 | 440 | 0.83099 | 0.84 | 0.8 | 20 | 19 | 21 | 17 | 17 | 18 | 5.4448 | 6.0705 | 5.7896
2012-07-23 | 750 | 760 | 520 | 610 | 630 | 410 | 0.81333 | 0.82895 | 0.78846 | 26 | 18 | 27 | 22 | 16 | 23 | 5.0005 | 5.8116 | 4.7608 | 5.8193 | 6.193 | 5.9135
2012-07-24 | 640 | 580 | 500 | 510 | 470 | 390 | 0.79688 | 0.81034 | 0.78 | 5 | 5 | 6 | 4 | 4 | 4 | 6.0945 | 6.6638 | 6.5142 | 5.8586 | 6.2602 | 5.9993 | 7.2 | 7.28 | 7.31
2012-07-25 | 680 | 570 | 460 | 550 | 470 | 360 | 0.80882 | 0.82456 | 0.78261 | 20 | 16 | 25 | 217 | 14 | 21 | 5.7143 | 5.8143 | 5.2961 | 5.8406 | 6.2045 | 5.9114
2012-07-26 | 630 | 590 | 520 | 530 | 490 | 440 | 0.84127 | 0.83051 | 0.84615 | 6 | 6 | 7 | 5 | 5 | 6 | 6.9814 | 6.7137 | 8.311 | 5.9468 | 6.2093 | 6.1148
2012-07-27 | 630 | 600 | 530 | 520 | 480 | 400 | 0.8254 | 0.8 | 0.75472 | 20 | 19 | 26 | 16 | 15 | 21 | 6.537 | 6.1306 | 6.7637 | 5.9366 | 6.1706 | 6.1728
2012-07-30 | 670 | 790 | 480 | 540 | 590 | 320 | 0.80597 | 0.74684 | 0.66667 |  | 15 |  | 59 | 11 | 53 | 9.2708 | 27.6708 | 7.2993 | 6.5997 | 9.8008 | 6.4908
2012-07-31 | 620 | 540 | 390 | 510 | 450 | 320 | 0.82258 | 0.83333 | 0.82051 | 22 | 29 | 25 | 20 | 26 | 23 | 6.1271 | 5.4367 | 5.7772 | 6.5322 | 9.1773 | 6.3889
2012-08-01 | 650 | 520 | 390 | 540 | 450 | 340 | 0.83077 | 0.86538 | 0.87179 | 4 | 11 | 4 | 4 | 9 | 3 | 6.9087 | 7.562 | 8.2864 | 6.5793 | 8.9754 | 6.6261 | 7.34 | 7.4 | 7.3
2012-08-02 | 720 | 480 | 460 | 620 | 440 | 440 | 0.86111 | 0.91667 | 0.95652 | 20 | 13 | 16 | 18 | 12 | 14 | 6.5398 | 6.9855 | 7.5188 | 6.7717 | 9.1222 | 6.9708
2012-08-03 | 760 | 560 | 520 | 640 | 460 | 440 | 0.84211 | 0.82143 | 0.84615 | 15 | 9 | 14 | 15 | 9 | 13 | 6.3921 | 6.4966 | 6.4158 | 6.8089 | 9.1013 | 6.9585
2012-08-06 | 800 | 600 | 560 | 660 | 480 | 440 | 0.825 | 0.8 | 0.78571 | 16 | 9 | 13 | 13 | 7 | 9 | 6.0977 | 6.1191 | 6.2567 | 6.8894 |  | 6.9257
2012-08-07 | 720 | 520 | 510 | 620 | 420 | 400 | 0.86111 | 0.80769 | 0.78431 | 14 | 8 | 10 | 12 | 6 | 9 | 6.1597 | 6.1728 | 6.25 | 6.7851 | 9.4919 | 6.8292

## Phase III Solids Data
| Mixed Liquor | [8 empty] | Effluent
| TSS (mg/L) |  |  | VSS (mg/L) |  |  | VSS/TSS |  |  | TSS (mg/L) |  |  | VSS (mg/L) |  |  | SRT (days) |  |  | SRT (4 day avg) |  |  | aerobic pH
Date | High F/M Aerobic | Low F/M Aerobic | Low F/M Anoxic/Aerobic | High F/M Aerobic | Low F/M Aerobic | Low F/M Anoxic/Aerobic | High F/M Aerobic | Low F/M Aerobic | Low F/M Anoxic/Aerobic | High F/M Aerobic | Low F/M Aerobic | Low F/M Anoxic/Aerobic | High F/M Aerobic | Low F/M Aerobic | Low F/M Anoxic/Aerobic | High F/M Aerobic | Low F/M Aerobic | Low F/M Anoxic/Aerobic | High F/M Aerobic | Low F/M Aerobic | Low F/M Anoxic/Aerobic | High F/M Aerobic | Low F/M Aerobic | Low F/M Anoxic/Aerobic
2012-11-28 | 630 | 605 | 614.6341 | 435 | 475 | 492.6829 | 0.69048 | 0.78512 | 0.80159 | 30 | 23 | 39 | 24 | 18 | 31 | 7.2309 | 7.6879 | 6.6809 |  |  |  | 7.15 | 7.3 | 7.92
2012-11-29 | 610 | 560 | 570 | 490 | 450 | 460 | 0.80328 | 0.80357 | 0.80702 | 23 | 23 | 36 | 18 | 19 | 28 | 4.2812 | 4.1135 | 4.2195 |  |  |  | 7.41 | 7.49 | 7.67
2012-11-30 | 551.2195 | 450 | 515 | 434.1463 | 365 | 410 | 0.78761 | 0.81111 | 0.79612 | 29 | 26 | 30 | 23 | 20 | 22 | 3.9975 | 4.0066 | 4.2641 |  |  |  | 7.43 | 7.47 | 7.77
2012-12-01 | 457.1429 | 423.2558 | 482.3529 | 371.4286 | 344.186 | 394.1176 | 0.8125 | 0.81319 | 0.81707 | 29 | 22.6804 | 22.2222 | 23 | 18.5567 | 17.1717 | 4.1278 | 4.2516 | 4.2952 | 4.9094 | 5.0149 | 4.8649
2012-12-02 | 429.2683 | 365 | 448.7805 | 321.9512 | 305 | 360.9756 | 0.75 | 0.83562 | 0.80435 | 35.3535 | 22.2222 | 23 | 29.2929 | 18.1818 | 18 | 4.0248 | 4.1093 |  | 4.1078 | 4.1202 |  | 7.45 | 7.36 | 7.85
2012-12-03 | 395.122 | 365.8537 | 452.381 | 302.439 | 302.439 | 371.4286 | 0.76543 | 0.82667 | 0.82105 | 40 | 22 | 21 | 32 | 17 | 16 | 4.056 | 4.1993 | 4.2464 | 4.0515 | 4.1417 | 4.2686 | 7.53 | 7.49 | 7.77
2012-12-04 | 360.9756 | 365 | 424.3902 | 292.6829 | 300 | 344.878 | 0.81081 | 0.82192 | 0.81264 | 39.3939 | 22 | 21 | 31.3131 | 18 | 15 | 4.2133 | 4.1977 | 4.1253 | 4.1055 | 4.1895 | 4.2223 | 7.47 | 7.47 | 7.72
2012-12-05 | 390.1235 | 331.7073 | 414.6341 | 291.358 | 268.2927 | 336.5854 | 0.74684 | 0.80882 | 0.81176 | 44 | 23 | 21 | 36 | 18 | 17 | 4.2556 | 4.0988 | 4.1429 | 4.1374 | 4.1513 | 4.1716 | 7.71 | 7.25 | 7.65
2012-12-06 | 360.9756 | 297.561 | 380.7229 | 282.9268 | 248.7805 | 313.253 | 0.78378 | 0.83607 | 0.82278 | 42 | 25 | 23 | 35 | 21 | 19 | 4.2566 | 4.0642 | 4.0742 | 4.1954 | 4.14 | 4.1472 | 7.44 | 7.5 | 7.65
2012-12-07 | 365 | 285 | 380 | 275 | 235 | 295 | 0.75342 | 0.82456 | 0.77632 | 36 | 34.3434 | 24 | 28 | 26.2626 | 19 | 4.5203 | 3.8773 | 4.1496 | 4.3114 | 4.0595 | 4.123 | 7.7 | 7.56 | 7.81
2012-12-08 | 340 | 248.7805 | 370.7317 | 260 | 204.878 | 278.0488 | 0.76471 | 0.82353 | 0.75 | 37 | 33 | 28 | 30 | 28 | 24 | 4.2475 | 4.1511 | 3.9888 | 4.32 | 4.0479 | 4.0889 | 7.93 | 7.79 | 7.88
2012-12-09 | 302.5641 | 220.5128 | 351.3514 | 235.8974 | 179.4872 | 270.2703 | 0.77966 | 0.81395 | 0.76923 | 25.7426 | 17 | 20 | 19.802 | 14 | 16 | 4.6297 | 5.1783 | 4.3664 | 4.4135 | 4.3177 | 4.1448
2012-12-10 | 300 | 285 | 385 | 235 | 225 | 300 | 0.78333 | 0.78947 | 0.77922 | 39 | 34 | 33 | 31 | 29 | 28 | 3.8305 | 3.8017 | 3.8663 | 4.307 | 4.2521 | 4.0928 | 7.73 | 7.57 | 7.85
2012-12-11 | 293.617 | 252.1739 | 361.7021 | 221.2766 | 208.6957 | 285.1064 | 0.75362 | 0.82759 | 0.78824 | 36 | 26.2626 | 21 | 28 | 21.2121 | 17 | 4.422 | 4.5174 | 4.6047 | 4.2824 | 4.4121 | 4.2066 | 8.03 | 7.75 | 7.91
2012-12-12 | 309.5238 | 264 | 380 | 223.8095 | 216 | 285 | 0.72308 | 0.81818 | 0.75 | 36 | 21 | 19 | 27 | 16 | 16 | 4.4004 | 4.6155 | 4.2885 | 4.3206 | 4.5282 | 4.2815 | 7.84 | 7.58 | 7.79
2012-12-13 | 289.7959 | 287.5 | 386.9565 | 195.9184 | 241.6667 | 282.6087 | 0.67606 | 0.84058 | 0.73034 | 36 | 25 | 22 | 28 | 20 | 18 | 4.2303 | 4.1599 | 4.0952 | 4.2208 | 4.2736 | 4.2137 | 7.74 | 7.86 | 8.03
2012-12-14 | 340 | 287.1795 | 380 | 230 | 235.8974 | 290 | 0.67647 | 0.82143 | 0.76316 | 31 | 18 | 19 | 25 | 15 | 16 | 4.757 | 4.5738 | 4.2747 | 4.4524 | 4.4666 | 4.3158 | 7.89 | 7.7 | 7.91
2012-12-15 | 395 | 310 | 390.4762 | 285 | 265 | 295.2381 | 0.72152 | 0.85484 | 0.7561 | 31 | 19 | 20 | 26 | 18 | 18 | 4.4255 | 4.2284 | 4.1626 | 4.4533 | 4.3944 | 4.2052 | 7.71 | 7.32 | 7.53
2012-12-16 | 421.7391 | 315.7895 | 418.1818 | 300 | 278.9474 | 313.6364 | 0.71134 | 0.88333 | 0.75 | 18 | 8.4211 | 10 | 16 | 6.3158 | 8 | 4.7095 | 4.7207 | 4.5247 | 4.5306 | 4.4207 | 4.2643
2012-12-17 | 390 | 300 | 357.1429 | 270 | 250 | 285.7143 | 0.69231 | 0.83333 | 0.8 | 54 | 34.3434 | 35 | 42 | 27.2727 | 30 | 3.2991 | 3.3641 | 3.4318 | 4.2978 | 4.2218 | 4.0985 | 7.64 | 7.32 | 7.65
2012-12-18 | 414.6341 | 325 | 365.8537 | 282.9268 | 265 | 287.8049 | 0.68235 | 0.81538 | 0.78667 | 29 | 13 | 25 | 23 | 9 | 21 | 5.3472 | 5.4799 | 4.6843 | 4.4453 | 4.4483 | 4.2009 | 7.75 | 7.48 | 7.7
2012-12-19 | 414.6341 | 310 | 365 | 282.9268 | 260 | 300 | 0.68235 | 0.83871 | 0.82192 | 26 | 13 | 26 | 20 | 10 | 22 | 4.3159 | 4.1358 | 4.189 | 4.4179 | 4.4252 | 4.2075 | 7.54 | 7.52 | 7.72

## Phase I Nutrient Data
| Effluent | [14 empty] | Anaerobic/Anoxic Mixed Liquor
| sol P (mg/L P) |  |  | NH3-N (mg/L) |  |  | NO3-N (mg/L) |  |  | NO2-N (mg/L) |  |  | sCOD (mg/L) |  |  | sol P (mg/L P) |  |  | NO3-N (mg/L) |  |  | NO2-N (mg/L) |  |  | sCOD (mg/L)
Date | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic | Aerobic Only | Anoxic/Aerobic | Anaerobic/Aerobic
2012-05-21 | 7.3859 | 6.1232 | 5.9401 | 0.707 | 0.038 | 0.187 | 12.7749 | 19.1889 | 6.6993 | 1.4479 |  | 1.162 |  |  | 29.7
2012-05-22 | [16 empty] | 5.3892 | 7.1486 |  | 8.4444 | 0.61702 |  | 2.9104 |  |  | 26.3 | 33.1
2012-05-23 | 4.3096 | 4.6394 | 3.8956 | 0.048 | 0.051 | 0.125 | 11.1456 | 12.7044 | 3.191 |  |  |  | 25 | 20.4 | 27.5
2012-05-24 | 4.2156 | 4.3456 | 2.1978 | 0.187 | 0.068 | 0.06 | 10.8862 | 8.8983 | 4.2944
2012-05-25 | 5.0883 | 5.2125 | 2.967 | 0.011 | 0.03 | 0.036 | 16.4422 | 10.7083 | 5.9857 | 0.39237 |  |  | 20.2 | 20.9 | 19.1
2012-05-29 | 5.5513 | 5.7408 | 2.4724 | 0.135 | 0.115 | 0.125 | 16.6934 | 9.1453 | 5.7862 | 0.33089 |  |  | 21.9 | 20.8 | 22.2 |  | 5.9303 | 9.3365 |  | 2.6078 | 0.12133 |  | 3.2979 |  |  | 36.2 | 32.4
2012-05-30 | 5.0944 | 5.1583 | 2.0301 | 0.049 | 0.04 | 0.023 | 16.0629 | 9.9696 | 5.5068 | 0.55854 |  |  | 24.9 | 23.1 | 22.7
2012-05-31 | 5.5379 | 5.0799 | 1.7057 |  |  |  | 14.4613 | 9.8426 | 6.3491 | 0.47837
2012-06-01 | 5.848 | 5.4263 | 2.5974 | 0.037 | 0.03 | 0.034 | 12.3231 | 6.2162 | 5.5199 |  |  |  | 25.6 | 24.5 | 23.9
2012-06-04 | 5.4174 | 4.6387 | 1.7864 | 0.037 | 0.026 | 0.033 | 12.4635 | 4.8621 | 4.6514 |  |  |  | 25.5 | 26.2 | 24.7
2012-06-05 | [16 empty] | 5.1603 | 11.6366 |  | 0 | 0.075936 |  |  | 0.51529 |  | 45.4 | 32.3
2012-06-06 | 4.7503 | 4.2646 | 1.3047 | 0.041 | 0.015 | 0.025 | 13.7543 | 5.996 | 5.5338 | 0.49103 |  |  | 20.9 | 22.7 | 19.8
2012-06-07 | [16 empty] | 5.2353 | 13.3038 |  | 0.094914 | 0.078873 |  |  |  |  | 32.8 | 32.2
2012-06-08 | 5.0173 | 4.427 | 1.2765 | 0.02 | 0.008 | 0.061 | 13.085 | 6.0252 | 5.4554 |  |  |  | 26.8 | 19.5 | 19
2012-06-11 | 5.2531 | 4.7218 | 1.0931 | 0.043 | 0.06 | 0.061 | 16.2249 | 10.6467 | 6.0205 |  |  |  | 26.3 | 23.3 | 21.3
2012-06-13 | 5.7678 | 5.2938 | 1.9694 | 0.021 | 0.009 | 0.014 | 15.1622 | 16.6623 | 5.6186 |  |  |  | 23.9 | 18.6 | 20.5
2012-06-15 | 5.9948 | 5.2866 | 4.9738 |  |  |  | 8.1408 | 15.2599 | 6.1717 | 2.3097 | 1.1371 | 1.389
2012-06-18 | 5.8922 | 5.5856 | 1.5837 |  |  |  | 12.3751 | 10.558 | 4.3187 | [7 empty] | 5.6993 | 16.0327 |  | 0.40489 | 0.1676 |  | 5.4064
2012-06-19 |  |  |  | 0.0069 | 0.026 | 0.024 | [6 empty] | 17.1 | 9.4 | 15.9
2012-06-20 | 5.6196 | 5.5148 | 0.61202 | 0.058 | 0.074 | 0.091 | 11.5946 | 11.2262 | 5.854 |  |  |  | 20.9 | 22.1 | 17.7 |  | 5.8629 | 16.5113 |  | 0.17062 | 0.088091 |  | 4.6088 |  |  | 32.4 | 29.6
2012-06-21 | 5.345 | 5.2969 | 0.86001 | 0.033 | 0.045 | 0.014 | 12.9391 | 8.6514 | 6.5686 |  |  |  | 15.9 | 21.3 | 15.6
2012-06-22 | 5.5081 | 5.5547 | 1.0943 | 0.033 | 0.067 | 0.032 | 17.775 | 8.2704 | 7.1884 |  |  |  | 26.3 | 31.1 | 24.6 |  | 5.9348 | 9.4326 |  | 0.39881 | 0.21405 |  | 4.6475
2012-06-24 | 5.3401 | 5.194 | 1.9789 | 0.046 | 0.033 | 0.032 | 20.105 | 15.9504 | 5.3229 |  |  |  | 8.3 | 17.1 | 16.9 |  | 4.8251 | 16.0645 |  | 3.3834 | 0.23736 |  | 7.444
2012-06-25 | 4.5217 | 4.3765 | 2.3822 | 0.049 | 0.12 | 0.086 | 12.3473 | 11.833 | 3.0038 |  |  |  | 19.8 | 26.9 | 19.3
2012-06-27 |  |  |  | 0.057 | 0.059 | 0.052 | [6 empty] | 20.9 | 26 | 25.6
2012-06-28 | 3.9631 | 4.3274 | 0.77068 |  |  |  | 12.1516 | 16.2557 | 4.7362
2012-07-02 | 6.3279 | 6.1449 | 6.3005 |  |  |  | 21.935 | 31.837 | 7.8181
2012-07-04 | 4.1432 | 4.334 | 0.72659 |  |  |  | 18.1137 | 23.6526 | 5.7059
2012-07-05 | 4.836 | 3.9844 | 0.72744 |  |  |  | 14.2139 | 19.514 | 4.1265

## Phase II Nutrient Data
Effluent
| sol P (mg/L P) |  |  | NH3-N (mg/L) |  |  | NO3-N (mg/L) |  |  | NO2-N (mg/L) |  |  | sCOD (mg/L)
Date | High F/M Aerobic | Low F/M Aerobic | High F/M Aerobic (low rbCOD) | High F/M Aerobic | Low F/M Aerobic | High F/M Aerobic (low rbCOD) | High F/M Aerobic | Low F/M Aerobic | High F/M Aerobic (low rbCOD) | High F/M Aerobic | Low F/M Aerobic | High F/M Aerobic (low rbCOD) | High F/M Aerobic | Low F/M Aerobic | High F/M Aerobic (low rbCOD)
2012-07-06 |  |  |  | 0.021 | 0.04 | 0.03 | [6 empty] | 21.1 | 20.9 | 18.8
2012-07-09 | 6.1935 | 6.0086 | 1.2335 | 0.009 | 0.012 | 0 | 16.9448 | 6.8118 | 6.0269 |  |  |  | 21.3 | 26 | 23.6
2012-07-11 | 6.7396 | 6.1744 | 0.93453 | 0 | 0.001 | 0 | 17.8434 | 6.4607 | 6.0507 |  |  |  | 24.7 | 24.4 | 18.9
2012-07-13 | 4.8303 | 4.8385 | 5.4253 | 0.04 | 0.106 | 0.093 | 25.2999 | 24.0325 | 28.5292 | 0.12968 | 0.25243 | 0.87661 | 25.3 | 11.2 | 31.1
2012-07-16 | 6.4784 | 6.3294 | 6.1943 | 0.094 | 0.105 | 0.12 | 25.9208 | 24.992 | 31.7388 |  |  |  | 26.3 | 14.2 | 14.4
2012-07-18 | 7.2643 | 6.8657 | 7.4743 | 0.022 | 0.021 | 0.006 | 26.6972 | 24.8265 | 31.9444 |  |  |  | 23 | 15.7 | 20.4
2012-07-20 | 7.1898 | 6.9922 | 7.1671 | 0.028 | 0.037 | 0.029 | 26.1494 | 22.1367 | 30.9677 |  |  |  | 19.8 | 17.1 | 23.9
2012-07-23 | 5.5116 | 5.9345 | 5.9958 | 0.023 | 0.029 | 0.026 | 20.9348 | 16.2997 | 26.1314 |  |  |  | 21.5 | 23.7 | 23.9
2012-07-25 | 6.4012 | 6.5991 | 6.4055 | 0.032 | 0.04 | 0.028 | 23.9093 | 18.9887 | 28.7485 |  |  |  | 21.3 | 22.6 | 22.4
2012-07-27 | 6.7619 | 7.2558 | 6.8768 | 0.04 | 0.049 | 0.032 | 24.515 | 18.9236 | 28.8987 |  |  |  | 23.5 | 24.3 | 16.7
2012-07-30 | 7.1217 | 7.4223 | 7.552 | 0.017 | 0.43 | 0.008 | 24.459 | 17.1831 | 29.0868 |  | 0.87701 |  | 28.1 | 32.1 | 24.9
2012-08-01 | 7.3511 | 8.1943 | 7.62 | 0.057 | 0.069 | 0.041 | 22.135 | 20.7567 | 27.3365 |  |  |  | 23.4 | 20.1 | 22.8
2012-08-03 | 7.8057 | 8.1822 | 7.8474 | 0.059 | 0.052 | 0.047 | 23.4878 | 21.3068 | 29.388 |  |  |  | 23 | 21.8 | 24.9
2012-08-06 | 6.884 | 7.3133 | 7.0877 | 0.039 | 0.033 | 0.05 | 26.3677 | 23.0436 | 31.7313 |  |  |  | 16.6 | 14.3 | 12.8

## Phase III Nutrient Data
| Anoxic Mixed Liquor in Low-F/M Anoxic/Aerobic |  |  |  | Aerobic Mixed Liquor
[5 empty] | sol P (mg/L P) |  |  | NH3-N (mg/L) |  |  | NO3-N (mg/L) |  |  | NO2-N (mg/L) |  |  | sCOD (mg/L)
Date | sol P (mg/L P) | NO3-N (mg/L) | NO2-N (mg/L) | sCOD (mg/L) | High F/M Aerobic | Low F/M Aerobic | Low F/M Anoxic/Aerobic | High F/M Aerobic | Low F/M Aerobic | Low F/M Anoxic/Aerobic | High F/M Aerobic | Low F/M Aerobic | Low F/M Anoxic/Aerobic | High F/M Aerobic | Low F/M Aerobic | Low F/M Anoxic/Aerobic | High F/M Aerobic | Low F/M Aerobic | Low F/M Anoxic/Aerobic
2012-11-28 |  |  |  |  | 1.1042 | 1.054 | 1.6323 | 0.06 | 0.214 | 6.564 | 17.6173 | 17.836 | 14.9015 | 3.5284 | 3.58 | 5.6891 | 39.1 | 41.3 | 39.5
2012-11-29 | 2.7853 | 27.0743 | 2.3233 | 21
2012-11-30 | 2.2426 | 28.1713 | 2.7023 | 41 | 0.94969 | 2.2664 | 1.4503 | 0.076 | 0.056 | 0.146 | 22.6539 | 23.2347 | 31.9624 | 0.16821 | 1.0612 | 2.1968 | 45.4 | 37.2 | 39.7
2012-12-03 | 1.7842 | 32.3374 | 2.7533 | 35.2 | 1.7065 | 2.0227 | 1.612 | 0.05 | 0.053 | 0.052 | 23.7212 | 22.3847 | 37.9842 | 0.16316 | 0.79864 | 1.7312 | 30.2 | 29.8 | 23.8
2012-12-05 | 1.804 | 27.9007 | 1.8227 | 83 | 1.7631 | 2.0562 | 1.6029 | 0.034 | 0.04 | 0.051 | 22.9187 | 22.2165 | 34.0794 | 0.092248 | 0.86678 | 1.5848 | 34.7 | 37 | 29
2012-12-06 | 1.2764 | 23.433 | 1.5608 | 32.3
2012-12-07 | 1.4542 | 21.5359 | 1.4098 | 36.2 | 1.775 | 1.7618 | 1.4895 | 0.053 | 0.054 | 0.047 | 16.463 | 14.888 | 27.1331 | 0.067261 | 0.50391 | 0.67739 | 35.1 | 34.6 | 29.4
2012-12-09 | 1.3163 | 22.5143 | 2.1521 | 42.9 | 1.4031 | 1.325 | 1.2056 |  |  |  | 13.2657 | 10.9583 | 26.7898 | 0.087896 | 0.53924 | 1.0055
2012-12-10 | 0.91721 | 22.963 | 2.1959 | 39.3 | 1.2007 | 1.1951 | 0.92934 | 0.03 | 0.05 | 0.047 | 12.9347 | 13.1992 | 27.3657 | 0.06927 | 0.58197 | 0.79724 | 26.9 | 28.8 | 27.5
2012-12-12 |  |  |  |  | 1.1917 | 1.1306 | 0.97927 | 0.025 | 0.037 | 0.013 | 11.9827 | 12.6493 | 28.4103 | 0 | 0.53157 | 0.68143 | 14.3 | 20.3 | 21.6
2012-12-13 | 0.98896 | 22.4123 | 1.5833 | 35.1
2012-12-14 | 1.0023 | 25.5945 | 1.5697 | 38.3 | 0.94092 | 1.1374 | 0.92011 | 0.038 | 0.039 | 0.024 | 10.7577 | 12.4181 | 28.7291 | 0.11809 | 0.27142 | 0.44036 | 24.6 | 28.4 | 25.9
2012-12-17 | 2.1041 | 29.4091 | 2.0405 | 37.8 | 1.966 | 2.4162 | 2.013 | 0.053 | 0.139 | 0.087 | 20.002 | 22.0831 | 34.1806 | 0.41407 | 0.99242 | 1.2313 | 43.5 | 51.4 | 47.5
2012-12-19 | 1.9868 | 31.6426 | 1.4809 | 39.2 | 1.9796 | 2.2697 | 1.9567 | 0.027 | 0.1321 | 0.089 | 21.9161 | 23.0207 | 34.9687 | 0.14402 | 1.0773 | 1.1043 | 34.2 | 41.3 | 39.4