## Read Me
Merged Date & Time values (UTC) are in column A
Particle number concentrations for each bin are in columns H-DK (identified by the diameter midpoint (nm) of the bin in row 1)
Particle number concentrations in columns H-DK are in dN/dlogDp
Total particle number concentrations (#/cm³) are in column EF
Measurements are every 5 minutes with the time stamp occuring at the beginning of the run (when the sample is taken).
All missing values are marked with a -999.
Data starts 7/30/2015 and ends 9/23/2015
SMPS Flow rates confirmed prior to start of campaign
TSI 3938 Scanning Mobility Particle Sizer (SMPS)
| AIM Version | 10.1.0.6
| Classifier Model | 3082
| Neutralizer Model | 3077
| CPC model | 3787 water-based
| Impactor (cm) | 0.0508
| DMA Model | 3081
| DMA Inner Radius (cm) | 0.937
| DMA Outer Radius (cm) | 1.961
| DMA Characteristic Length (cm) | 44.369
| HV Polarity | NEG
| Detector Model | 3787 Low Flow
| CPC Sample Flow (L/min) | 0.6
| Classifier aerosol flowrate (L/min) | 0.4
| sheath flowrate (L/min) | 4
| Reference Gas Viscosity (Pa*s) | 1.8325e-05
| Reference Mean Free Path (m) | 6.73e-08
| Reference Gas Temperature (K) | 296.15
| Reference Gas Pressure (kPa) | 101.3
| Sutherland Constant (K) | 110.4
| Tube Length (cm) | 25.4
| Tube Diameter (cm) | 0.48
| Channels/Decade | 64
| Multiple Charge Correction | TRUE
| Nanoparticle Agglomerate Mobility Analysis | FALSE
| Diffusion Correction | TRUE
| Units | dw/dlogDp
| Weight | Number

## Site Info
The Mt. Bachelor Observatory is located at the Mt. Bachelor Ski Area and is run with the cooperation of Mt. Bachelor, Inc.
Data provider: Dan Jaffe and James Laing, University of Washingon
Contact: djaffe@uw.edu
MBO site coordinates:
Latitude: 43.979 N
Longitude: 121.687 W
Elevation: 9000 Ft a.s.l. (2.7 km)